| Codes DESIGN CRITERIA | DC 1.2 |
| --- | --- |

1.2.1	Building Code Interpretations and Violations

1.2.1.1	Area Separation:  Be aware that to meet area separation requirements within a single building (such as a cafeteria), anticipate varying interpretations by the local building official throughout the State.  Consultant shall review their designs with the local building official prior to submitting for permits.  Partitions, walls, ceilings, draft stops, attic venting and roof structure are all affected and usually require unique solutions.