| Structural DESIGN CRITERIA | DC 2.3 |
| --- | --- |

2.3.1	Design and Coordination of Structural Supports for Equipment.

2.3.1.1	Problem:   When designing for specific product/equipment system with its weight, access and support criteria; other acceptable products/equipment/system may have different design features that require changes to accommodate.  In cases where substitutions by Vendors are accepted by DAGS and structural changes necessary are not reviewed or incorporated, DAGS may be required to pay cost for the necessary change.

2.3.1.2	Solution: Consultant shall include on the drawings, design and limitations used for equipment supports, sizes, weight capacity and access requirements.  Provide a design that accommodates all the products/equipment/system specified; or if using a performance specification design to meet at least three of the most common products/equipment/system that meet the specifications.

2.3.1.3	Include a statement on the drawings that requires the Contractor to include in its bid or proposal, any costs to change the structural supports or architectural, electrical, mechanical or other items and surrounding conditions (or design if necessary) that are shown in the Drawings and Specifications to accommodate changes necessary for the product/equipment system to be used in the Project.