| Domestic Water Piping TECHNICAL GUIDE | TG 15140 |
| --- | --- |

1.	COORDINATION ISSUES:   (Not Used)

2.	DESIGN ISSUES:      (Not Used)

3.	DRAWING NOTES:   (Not Used)

4.	STANDARD DRAWINGS:    (Not Used)

5.	SPECIFICATION NOTES:

5.1	Lead in Potable Water Systems:  Due to the health hazards associated with lead contamination, the following items shall be addressed in the contract documents:

5.1.1	The installation, materials and methods used in the construction of potable water systems shall be in accordance with the requirements set forth in the following Codes and Standards:

5.1.1.1	Uniform Plumbing Code.

5.1.1.2	City and County of Honolulu, Board of Water Supply, Water System Standards.

5.1.2	The contractor shall submit five (5) copies of certificates stating that the solder and fluxes used are lead free.

6.	GUIDE SPECIFICATION:  (Not Used)

END OF SECTION 15140