| General Electrical Requirements TECHNICAL GUIDE | TG 16011 |
| --- | --- |

1.	Coordination Issues: (Not Used)

2.	Design Issues: (Not Used)

3.	Drawing Notes: (Not Used)

4.	Standard Drawings: (Not Used)

5.	Specification Notes:

5.1	Reference to Standards: Although it has been and is still being referenced as an implied standard for electrical installation and workmanship, we have learned that the Edison Electric Institute has not published such a standard for the past 10 years.

We have also found that none of the electrical designers we queried has a copy of the referenced standards.

Based on the above, consultants are requested to refrain hereafter from referencing the Edison Electric Institute Standard or any other standards that DAGS, Division of Public Works and/or the designer does not have copies of or that cannot be acquired or copied for use.

The National Fire Protection Association (NFPA) 70 (National Electrical Code), the American Electricians’ Handbook, “Practical Electrical Wiring” and Copper Development Association, Inc.’s “Copper Building Wire Handbook” should be sufficient references for electrical installation and workmanship standards and criteria.

6.	Guide Specification: (Not Used)