Summary:  New TG13289 created for Lead Testing and Monitoring since TG13288 only covered asbestos testing and monitoring

| Lead Testing and Monitoring TECHNICAL GUIDE | TG 13289 |
| --- | --- |

1.	COORDINATION ISSUES:

1.1	Consultants shall be aware of the DAGS PWD Policies and Procedures for Handling Hazardous Materials during Renovation Projects and comply with the applicable parts.

1.2	Projects shall comply at the minimum with the following regulations:

- Title 29, Code of Federal Regulations, Section 1926.62, entitled “Lead Exposure in Construction; Interim Final Rule.

- Department of Labor and Industrial Relations: State of Hawaii, Occupational Safety and Health Standards, Title 12, Subtitle 8, Part 2, Chapter 60, (also known as Chapter 12-60, Hawaii Administrative Rules, entitled “General Industry Standards”, “General Safety and Health Requirements”).

- Title 29 Code of Federal Regulations Part 1910.134, Respiratory Protection.

- Federal Register: Vol. 54, No. 131; Tuesday, July 11, 1989. Department of Labor, Occupational Safety and Health Administration; 29 CFR Parts 1910, 1915, 1917, and 1918; Occupational Exposure to Lead; Statement of Reasons; Final Rule.

- Title 40 Code of Federal Regulations Part 61, National Emissions Standards for Hazardous Air Pollutants.

- Title 40 Code of Federal Regulations Part 261 to 265, 268.

- Title 49 Code of Federal Regulations Part 172, Hazardous Materials, Tables, Special Provisions, Hazardous Materials Communications, Emergency Response Information, and Training Requirements.

- Title 49 Code of Federal Regulations Part 178, Specifications for Packaging.

1.2.1	Comply with the above requirements and any applicable federal, state, and local regulations, laws, and ordinances that pertain to this project.  Where conflict or any inconsistency among requirements or with this specification exists, the more stringent requirements shall apply.  Any question regarding conflict or inconsistency between specification and/or regulations should be directed to the Contracting Officer.

1.3	Minimum qualifications for the Consultant pertinent for the project scope are as follows:

1.3.1	Current certification through the Hawaii Department of Health as a Lead Project Designer.

1.3.2	Current OSHA lead certification for Project Monitor.

2.	DESIGN ISSUES: (Not Used)

3.	DRAWING NOTES: (Not Used)

4.	STANDARD DRAWINGS: (Not Used)

5.	SPECIFICATION NOTES: (Not Used)

6.	GUIDE SPECIFICATION:

6.1	Section 13289 - LEAD TESTING AND MONITORING

SPECIFIER’S NOTE  All references in this Section pertain only to the minimum requirements specified in OSHA 29 CFR 1926.62, 29 CFR 1910.1025 and HIOSH 12-60. Where a residence, building, or portion of a building contains lead-based paint and meets the definitions of “Target Housing” and/or “Child-occupied Facility”, the more stringent requirements apply as stated in 40 CFR Part 745, HUD “Guidelines for the Evaluation and Control of Lead-Based Paint Hazards in Housing”, HDOH 11-41, and all other applicable Federal, State, and local regulations (See Section 2.2 OF TG 13282 – LEAD PAINT CONTROL MEASURES for definitions of “Target Housing” and “Child-occupied Facility”).  DAGS requires stringent requirements for Public Libraries as they are used for children to stay after school until parents pick them up after work.

Blue colored italicized text is used for notes to the specifier and should be completely deleted from the final text.  Where [Red colored text in brackets] is shown in this specification section, insert wording, numbers, etc. as appropriate and delete brackets.  Where <Red colored text in brackets> is shown, a choice is indicated.  Make the appropriate choice and delete the brackets.  Maintain footer notation with the initial date of this new TG (TG13289 v18.08).  Verify that section titles cross referenced in this Section correspond to this Project's specifications; Section titles may have changed.

SECTION 13289 - LEAD TESTING AND MONITORING

SPECIFIER’S NOTE: This guide specification covers the requirements to be followed by the Contractor for testing and air monitoring on the lead disturbance of a project.

PART 1 - GENERAL

1.01	SECTION INCLUDES

SPECIFIER’S NOTE: Project testing and air monitoring are basically inspection processes that are normally delegated to a consultant hired by the State and specified under a standard scope of work. Under certain conditions and for certain projects this work may be performed by a consultant to the Contractor and be made a part of the construction contract.  This section lists two scopes of work:

1.	Contractor’s requirements for lead disturbance work, and,

2.	Scope and requirements for Lead Inspection and Testing

Delete item B below if testing and monitoring services are not required by the State Project Coordinator

A.	Abatement Contractor’s Responsibilities for personnel monitoring and record keeping.

B.	Project air monitoring and inspectional services for the purposes of:

1.	Verifying compliance with the specifications listed in Section 13282 – LEAD-PAINT CONTROL MEASURES (or equivalent section title).

2.	Ensuring that the State’s legally required documentation is collected.

3.	Providing engineering controls during the project.

1.02	DEFINITIONS:  Unless otherwise clear from the context, as used in this contract:

A.	"Action Level (AL)”: Employee exposure, without regard to the use of respirators, to an airborne concentration of lead of thirty micrograms per cubic meter of air (30 (g/m3) calculated as an 8-hour time-weighted average (TWA).

B.	"Building Representative(s)": The person or persons designated by the users of the building to act on their behalf.

C.	"Contractor": The construction firm engaged to remove and dispose of the lead-containing materials.

D.	"Consultant": The firm contracted by the State to inspect the work of the Contractor during the removal and disposal of the lead-containing materials and is capable or has a subcontractor to perform personal air monitoring, sampling and testing before, during and after the lead removal. The consultant may be the construction manager or said construction manager may be a subcontractor to the consultant.

E.	“Engineering Controls”: Measures other than respiratory and other personal protection or administrative controls that are implemented at the worksite to contain, control, and/or otherwise reduce exposure to lead-contaminated dust and debris usually in the occupational health setting.  The measures include process and product substitution, isolation, and ventilation.  The term may be used in the occupational health setting in order to prevent workers’ exposures to lead; it can also be used in other lead hazard control settings, such as preventing residents’ exposure.

F.	"Project Designer": The person or firm, certified by the DOH, State of Hawaii, who prepared the plans and specifications to remove and dispose of the lead-containing materials.

G.	“Project Monitor”: A person hired by the State who shall certify and document removal and clean-up of all lead-containing material and associated waste from the project site and perform visual clearances and testing.

1.03	COORDINATION

SPECIFIER’S NOTE: Since the Contractor must coordinate his efforts with the Consultant/Project Monitor, the requirements of Section 13282 should provide work specifications that will assure performance within the limitations to be verified by the Consultant/Project Monitor.

A.	Coordinate with the State’s Consultant/Project Monitor for the testing and monitoring requirements included in Section 13282 – LEAD-PAINT CONTROL MEASURES for testing/ air monitoring consultants or Project Monitor, and all applicable Federal, State and local regulations.

1.04	PRE-CONSTRUCTION CONFERENCE

A.	Hold conference prior to construction and shall be conducted by the Contracting Officer assisted by the Project Designer.

1.	Attendance: Present also shall be the Contractor, Project Designer and/or the Project Monitor and Building Representative(s).   When the abatement Contractor is a sub-contractor to a General Contractor, a representative of the General Contractor shall also attend.

2.	Agenda:

a.	Review final schedule for project.

b.	Verify legal requirements and special conditions.

c.	Verify compliance with pre-construction requirement.

d.	Obtain copies of all mandatory notifications.

e.	Inspect sample respiratory equipment and other abatement equipment.

f.	Review procedures and responsibilities.

g.	Clarify the scope of work and its best impact on the users of the building.

PART 2 - PRODUCTS (Not Used)

PART 3 - EXECUTION

SPECIFIER’S NOTE: There have been instances where the Contractor is responsible for hiring personnel for testing and monitoring depending on the type of facility.  Project Designer must coordinate with the State Project Coordinator.

3.01	 STATE’S RESPONSIBILITIES

A.	Testing and monitoring will be supplied by the Contracting Officer.

3.02	CONTRACTOR’S RESPONSIBILITIES

SPECIFIER’S NOTE: There have been instances (which we want to avoid) where the Contractor has mistakenly assumed that the Contracting Officer would supply the Contractor’s legally required records long after the project was completed.

A.	The Contractor shall be responsible for providing the daily personal air monitoring and necessary records for all of the Contractor's employees for the duration of the project as required by OSHA (29 CFR 1926.62),  and all other applicable laws.

B.	The Contractor shall obtain the OSHA required reports for personnel air monitoring as part of the contract.

C.	The Contractor shall be responsible for daily personal air samples that shall be collected on at least 25% of the Contractor’s personnel performing removal work on similar tasks and for the duration of the project.  Submit within 5 working days to the Contracting Officer.

D.	The Contractor is solely responsible for protecting his workers, other personnel, and the public from any of his work activities at the work site and on State property regardless of the testing and monitoring conducted by the State.

SPECIFIER’S NOTE: Instances have occurred where Contractors have been offered monitoring information, declined it, and then requested it later, when it was no longer available.

E.	Monitoring information developed by the State’s Project Monitor's activities shall be for the use of the Contracting Officer. The information will be available and offered to the Contractor when developed, but not thereafter, and shall not waive the Contractor's obligations stated elsewhere in this section.

SPECIFIER’S NOTE: Testing and monitoring are expensive. When it is involved with rechecking defective work the cost burden should be borne by the Contractor.

F.	Air monitoring and testing which becomes necessary to follow up on the work by the Contractor which is rejected as not conforming to the requirements will be supplied by the Contracting Officer. However, the full cost of such additional monitoring and testing shall be borne by the Contractor and shall be deducted from the final contract payment.

SPECIFIER’S NOTE: The Contractor will always do personal monitoring as part of his overall scope of work.

G.	Personal air monitoring that becomes part of the Consultant's scope of work shall be accommodated by the Contractor.

SPECIFIER’S NOTE: For waste disposal, instances have occurred where the Contractors have incorrectly tested wastewater and solid wastes.

H.	Prior to disposal of lead contaminated wastewater, one wastewater (as applicable) sample shall be collected by the Contractor, to determine whether it can be disposed of as non-hazardous waste or with an EPA approved hazardous waste disposal facility as hazardous waste. Contractor shall obtain and submit to the Contracting Officer, a permit to conduct such disposal into the sanitary sewer system prior to disposal. Disposal of all wastewater suspected of being contaminated with lead in the storm drain system is prohibited. Wastewater, no matter what its lead content, shall not be dumped on the ground. Contractor is ultimately responsible for and shall include in his bid the cost to properly dispose of all waste, hazardous or non-hazardous.  Submit a copy of the permit to the Contracting Officer.

I.	Perform the 8 Resource Conservation and Recovery Act (RCRA) Toxic Characteristic Leaching Procedure (TCLP) metals testing on all solid waste debris contaminated with lead (except for painted scrap metal), in accordance with 40 CFR Part 261 “Identification and Listing of Hazardous Waste”. Painted metal debris shall be separated from the rest of the lead- contaminated waste and disposed of as scrap metal at a metal recycler (when disposed of as scrap metal, TCLP testing is not required). The 8 RCRA metals TCLP testing shall be used to determine whether waste is hazardous or non-hazardous prior to disposal. Dispose of lead-contaminated debris as hazardous waste if the waste is determined to be hazardous by the 8 RCRA metals TCLP testing. If the 8 RCRA metals TCLP testing indicates that the waste is non- hazardous, the Contractor shall dispose of the waste as non-hazardous, construction waste.

3.03	AIR MONITORING AND INSPECTIONAL SERVICES

SPECIFIER’S NOTE: For buildings, or portions of buildings containing lead-based paint and meeting the definitions of “Target Housing” and/or “Child-occupied Facilities”, other testing (dust wipes, soil) may be required.

A.	Duties of the Consultant:

1.	Photographic Record of Project: Record the lead abatement project with representative photos to the Contracting Officer. All photos shall become the property of the State and are to be accompanied by a detailed log.

2.	Project Log: Maintain daily field reports detailing all key activities during abatement and make a submittal of summary project activities to the project designer and the Contracting Officer. Incorporate the contents of the daily field reports with other project data into a final project report.

3.	Visual Inspection of all Containment Areas: Perform regular inspection of all containment areas. Conduct inspections during the actual work performance of the Contractor to document the work practices employed by the Contractor and conduct visual clearances to verify that all materials scheduled for abatement were removed and the area was properly cleaned.  Submit clearances to the Contracting Officer.

B.	Air Monitoring: The State's on-site Project Monitor shall perform the following activities associated with this portion of the project:

1.	On-site personnel air monitoring (if not provided by the Contractor) as required by OSHA and HIOSH, and the project specifications (See methodology below).

2.	Laboratory analysis for lead-in-air using NIOSH 7082 or OSHA 105 method.

3.	Monitoring of decontamination procedures at site entry/exit.

4.	Monitoring of containment maintenance by visual and instrumental inspection.

5.	Interface with project inspectors, building representatives, representatives of regulatory agencies, and project designers during site visits.

6.	Ensure that proper respiratory protection is utilized by all persons at the project site.

7.	Relay to the Contracting Officer any discrepancies in Contractor's action with provisions of project specifications.

8.	Act quickly in case of emergencies with appropriate response.

3.04	LABORATORY ANALYSIS

A.	All  personal air samples collected by the State’s Project Monitor shall be analyzed by an AIHA certified laboratory for the analysis being requested. All laboratories shall be registered with the Hawaii Department of Health.

3.05	DAILY TESTING RECORDS

A.	At the conclusion of every day’s testing the State’s Project Monitor shall provide copies of all testing and monitoring records to the State within 5 working days of collection.

END OF SECTION